1) A series combination of a coil of inductance L and a resistor of resistance 12 ohm is connected across a12v, 50 Hz supply. Calculate L if the circuit current is 0.5A.

2) Calculate the rms value of the current in an a.c. circuit containing a capacitor of 40 uF and a resistor of 10 ohm in series. The power supply in the circuit is rated 230 v, 50 Hz.

3) A 100 mH inductor, a 20 uF capacitor and a 10 ohm resistor are connected in series to a 100 v a. c source. Calculate-- I) Impedance of circuit at resonance  II) Current at resonance iii)resonant frequency.

4) An a.c. circuit having an inductor and a resistor in series draws a power of 560 W from an a.c. source marked 210 V, 60 Hz. If the power factor of the circuit is 0.8, calculate the impedance of the circuit.

5) An alternating voltage E= 200 sin 300t is applied across a series combination of R= 10 ohm and an inductor of 800 mH. Calculate power factor of the circuit.

6) A tranformer has 300 secondary turns and 400 primary turns. If the secondary voltage is 300 V, calculate the primary voltage.

7) A power transmission line feeds input power at 3300 V to a step down transformer having primary coil with 4000 turns. What should be the number of turns in secondary coil in order to get output power at 330 V.